Describe of Photoelectric sensor

| PHOTOELECTRIC SENSOR |  |  |  |  |
| --- | --- | --- | --- | --- |
| Model |  |  |  | G50 |
| Outward appearance illustration |  |  |  |  |
| Overall dimension |  |  |  |  |
| Diffuse | Detection distance |  |  | 30cm 50cm |
|  | DC10-30V | NPN | NO | G50-3A30NA |
|  |  |  | NC | G50-3A30NB |
|  |  |  | NO+NC | G50-3A30NC |
|  |  | PNP | NO | G50-3A30PA |
|  |  |  | NC | G50-3A30PB |
|  |  |  | NO+NC | G50-3A30PC |
|  | AC90-250V | SCR Controllable silicon | NO | G50-2A30LA |
|  |  |  | NC |  |
|  |  | Relay output |  |  |
| Retroreflictive | Detection distance |  |  | 4m |
|  | DC10-30V | NPN | NO | G50-3B4NA |
|  |  |  | NC | G50-3B4NB |
|  |  |  | NO+NC | G50-3B4NC |
|  |  | PNP | NO | G50-3B4PA |
|  |  |  | NC | G50-3B4PB |
|  |  |  | NO+NC | G50-3B4PC |
|  | AC90-250V | SCR Controllable silicon | NO | G50-2B4LA |
|  |  |  | NC |  |
|  |  | Relay output |  |  |
| Trough beam | Detection distance |  |  | 5m |
|  | DC10-30V | NPN | NO | G50-3C5NA |
|  |  |  | NC | G50-3C5NB |
|  |  |  | NO+NC | G50-3C5NC |
|  |  | PNP | NO | G50-3C5PA |
|  |  |  | NC | G50-3C5PB |
|  |  |  | NO+NC | G50-3C5PC |
|  | AC90-250V | SCR Controllable silicon | NO | G50-2C5LA |
|  |  |  | NC |  |
|  |  | Relay output |  |  |
| Control output |  |  |  | DC:200mA |
| Consumption current |  |  |  | DC<15mA |
| Response time |  |  |  | DC<2ms |
| Direction angle |  |  |  | 3C to 10C |
| Detected object |  |  |  | Transparent of opaque body |
| Working environment temperature |  |  |  | below 25C to 55C |
| INtensity of illumination of working environment |  |  |  | Incandescent lamp under 3000LX |
| Shell material |  |  |  | Metal |
| Protection grade |  |  |  | IP54 |